## A2 I2
UNIVERSIDAD TECNOLÓGICA DE PEREIRA
GESTIÓN DE COMPRA DE BIENES Y SUMINISTROS
ANEXO 1 MODIFICADO - PRESENTACIÓN DE LA OFERTA
INVITACIÓN PÚBLICA BS 11 DE 2023 -“COMPRA DE EQUIPOS DE LABORATORIO PARA EL PROYECTO GENERACIÓN DE PEINES DE FRECUENCIAS ÓPTICAS USANDO CIRCUITOS INTEGRADOS FOTÓNICOS"
Anexo 1 - Ítem 1
SUBÍTEM | NOMBRE ELEMENTO | ESPECIFICACIÓN | MARCA/MODELO | UNIDAD DE MEDIDA | CANTIDAD | VALOR UNITARIO SIN IVA | %IVA | VALOR IVA | VALOR UNITARIO IVA INCLUIDO | VALOR TOTAL CON IVA INCLUIDO | TIEMPO DE ENTREGA | GARANTÍA
1 | High Power Optical Fiber Amplifier | Modelo: EDFA-1C711233311137dBmc-bandSMboosterEDFA, benchtop,singleoutputchannel,1mfiberlengtheachleg, 900umloosetube ,FC/APCconnector.Standard-5~40degree C operating, APC control | PHOTONWAVES | Unidad | 1 |  | 19% | 0 | 0 | 0
2 | Zero-Chirp, 10ghz Intensity Modulator10ghz X-Cut Intensity Modulator | Modelo: LN81S-FC Zero-Chirp, 10GHz Intensity Modulator10GHz X-Cut Intensity Modulator | THORLABS | Unidad | 1 |  | 19% | 0 | 0 | 0
3 | High sensitivity phototector (0 to 600MHz) | Modelo: FDP610-FC-NIR High sensitivity detector for pulsed, low light level signals based on fastPIN photodetector for NIR spectral range. Wavelength range 950 nm - 1650 nm, 3 dB Bandwidth DC - 500 MHz, fibercoupled with FC/APC pigtail. Low noise power supply and location specific power cord included. Please specify location specific power cord upon ordering | MenloSystems | Unidad | 1 |  | 19% | 0 | 0 | 0
4 | Hig hsensitivity phototector( 1 to 1500 MHz) | Modelo: FPD310-FC-NIR High sensitivity detector for pulsed, low light level signals based on fastPIN photodetector for NIR spectral range.Wavelength range 950 nm - 1650 nm, bandwidth 5 MHz - 1.5 GHz, fibercoupled with FC/APC pigtail. Low noise power supply and location specific power cord included. Please specify location specific power cord upon ordering | MenloSystems | Unidad | 1 |  | 19% | 0 | 0 | 0
5 | Optical Spectrum Analyzer, Marca:Yokogawa, Referencia 1: Aq6370d-12-L1-D/Fc/Rfc / O Referencia 2: AQ6370E-10-L1-D/FC/RFC | Modelo 1: AQ6370D-12-L1-D/FC/RFC Modelo 2: AQ6370E-10-L1-D/FC/RFC | Yokogawa | Unidad | 1 |  | 19% | 0 | 0 | 0
6 | Tsmj-3a-1550-9/125-0.25-7-2.5-14-2-Ar Sm Tapered And Lensed Fiber | Kit por 6 Tapered and Lensed Fiber TSMJ-3A-1550-9/125-0.25-7-2.5-14-2-ARTSMJ-3A-1550-9/125-0.25-7-2.5-14-2-AR SM | OZ OPTICS | Unidad | 1 |  | 19% | 0 | 0 | 0
7 | 10 Ghz Phase Modulator With Polarizer, Fc/Pc Connectors | Modelo: LN65S-FC10 GHz Phase Modulator with Polarizer, FC/PC Connectors | THORLABS | Unidad | 1 |  | 19% | 0 | 0 | 0
TOTAL OFERTA | [9 empty] | 0
OBSERVACIONES:
NOMBRE EMPRESA
NIT
NOMBRE REPRESENTANTE LEGAL
FIRMA
FECHA