## Presupuesto
UNIVERSIDAD TECNOLÓGICA DE PEREIRA
INVITACIÓN PÚBLICA BS 11 DE 2023
“COMPRA DE EQUIPOS DE LABORATORIO PARA EL PROYECTO GENERACIÓN DE PEINES DE FRECUENCIAS ÓPTICAS USANDO CIRCUITOS INTEGRADOS FOTÓNICOS"
ANEXO 3 - PRESUPUESTO POR ÍTEM
SUB ÍTEM | NOMBRE DEL ELEMENTO | REFERENCIA O DESCRIPCIÓN | MARCA | UNIDAD DE MEDIDA | CANTIDAD | VALOR TOTAL PRESUPUESTO IVA INCLUIDO POR SUB ÍTEM
1 | High Power Optical Fiber Amplifier | Modelo: EDFA-1C711233311137dBmc-bandSMboosterEDFA, benchtop,singleoutputchannel,1mfiberlengtheachleg, 900umloosetube ,FC/APCconnector.Standard-5~40degree C operating, APC control | PHOTONWAVES | Unidad | 1 | 14280000
2 | Zero-Chirp, 10ghz Intensity Modulator10ghz X-Cut Intensity Modulator | Modelo: LN81S-FCZero-Chirp, 10GHz Intensity Modulator10GHz X-Cut Intensity Modulator | THORLABS | Unidad | 1 | 20146700
3 | Highsensitivityphototector(0to60mhz) | Modelo: FDP610-FC-NIRHigh sensitivity detector for pulsed, low light level signals based on fastPIN photodetector for NIR spectral range.Wavelength range 950 nm - 1650 nm, bandwidth 1 MHz - 1.5 GHz, fibercoupled with FC/APC pigtail.Low noise power supply and location specific power cord included.Please specify location specific power cord upon ordering | MenloSystems | Unidad | 1 | 20230000
4 | Highsensitivityphototector(1to1500mhz) | Modelo: FPD310-FC-NIRHigh sensitivity detector for pulsed, low light level signals based on fastPIN photodetector for NIR spectral range.Wavelength range 950 nm - 1650 nm, bandwidth 1 MHz - 1.5 GHz, fibercoupled with FC/APC pigtail.Low noise power supply and location specific power cord included.Please specify location specific power cord upon ordering | MenloSystems | Unidad | 1 | 21420000
5 | Optical Spectrum Analyzer, Marca:Yokogawa, Referencia: Aq6370d-12-L1-D/Fc/Rfc | Modelo: AQ6370D-12-L1-D/FC/RFC | Yokogawa | Unidad | 1 | 267750000
6 | Tsmj-3a-1550-9/125-0.25-7-2.5-14-2-Ar Sm Tapered And Lensed Fiber | Kit por 6 Tapered and Lensed Fiber TSMJ-3A-1550-9/125-0.25-7-2.5-14-2-ARTSMJ-3A-1550-9/125-0.25-7-2.5-14-2-AR SM | OZ OPTICS | Unidad | 1 | 8330000
7 | 10 Ghz Phase Modulator With Polarizer, Fc/Pc Connectors | Modelo: LN65S-FC10 GHz Phase Modulator with Polarizer, FC/PC Connectors | THORLABS | Unidad | 1 | 17843300
TOTAL PRESUPUESTO | [5 empty] | 370000000